## Slide 1: Prostate cancer detection : Automated classifier using perfusion parameters versus T2-weighted image

## Slide 2
Two-compartment model
Intravascular space
Extravascular extracellular space
Transfer of contrast
  Simple diffusion
  ∆ concentration
Vein
Artery
Intravascular space (plasma)
Extravascular extracellular space
Intracellular space

## Slide 3
Brix two-compartment model
Equation for Fitting: Brix model
  Linearity assumption between signal enhancement and concentration
Parameters
  kel (sec-1): elimination of contrast
  media from central compartment.
  kep(sec-1): exchange rate constant
  from EES to plasma
  AH : constant corresponds to the size
  of EES
Central
Compartment*
*Blood plasma
** Extravascular extracellular space(EES)
Peripheral
Compartment**
Kin
Kel
K21 = Kep
K12

## Slide 4
Purpose
To evaluate the diagnostic accuracy of automated classifier using various perfusion parameters by comparing with T2-weighted image.
To validate the tumor volumetric result of classifier using pathology map

## Slide 5
Patients
40 patients with radical prostatectomy
  DCE MR images with T2WI, prior to prostatectomy
  Pathology maps were available
  No medical or radiation treatment prior to prostatectomy

## Slide 6
Machine learning
Classifier
  Support Vector Machine
  Parameters were optimized
Cross-validation
  Leave-one-out method
Features
  Kep, Kel, AH, time of arrival, time to peak, plateau signal, base signal, RMSE, wash-in rate, wash-out rate, relative enhancement, degree of enhancement

## Slide 7
Experimental process
Data collection
Machine learning
4D analyzer
Evaluation
Comparing
Data
Training
results
ROI base, 3 ROI
SVM, Leave-one-out
Pixel based test
Using pathology map
With prostate segment results

## Slide 8
Measurement of parameters
4D analyzer (matlab based)

## Slide 9
Measurement of parameters
Normal peripheral zone

## Slide 10
Volumetric classification result

## Slide 11
Volumetric classification result

## Slide 12
Comparing with prostate segment result
Prostate Cancer vs. Noncancer
* Generalized Estimating Equations
 | Automated classifier | T2WI | p-value*
Sensitivity | 86% (132/153) | 66% (101/153) | p=0.004
Specificity | 88% (289/327) | 75% (244/327) | p=0.002
Accuracy | 88% (421/480) | 72% (345/480) | p<0.01

## Slide 13
Thank You !
Notes: Thank you for your attention.